# IV517 Flow Chart

# Text boxes

Something wrong

Alarm on,

other output active

N

Loop until SW2 push

Timer /5=avg.

Normal range = function(avg)

Y

drop within

normal limit ?

Y

Y

drop+1

Drop=5?

N

Y

N

Input=1 ?

No

Watch dog wake

Check SW1=1?

Setup envir.

Goto sleep

IR & PreAMP power on, if SW1 push < 1 sec red LED ON

If sw1 push >1 sec, silent mode, yellow LED ON

Drop=0, Timer=0, start timer